{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["załącznik nr 1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"załącznik nr 1","index":0,"n_rows":29,"n_cols":12,"rows_kept":29,"cut":false,"hidden":false,"merged":[[9,0,9,11],[16,1,16,7],[16,8,16,10],[19,1,19,7],[19,8,19,10],[18,1,18,7],[18,8,18,10],[17,1,17,7],[17,8,17,10]],"flags":["formulas_cached_only"]}
["Przetarg nieograniczony znak: IHiT/P/9/2010"]
[]
[]
["..............................."]
["  [pieczęć firmy]     "]
[]
[]
[{"$nulls":5},"Specyfikacja Asortymentowo - Cenowa"]
["Zadanie  1"]
["Załącznik nr 1"]
[1,2,3,4,5,6,7,8,9,10,11,12]
["L.p.","Opis / parametry                         /CPV 33696200-7/","Wymagana ilość","Nr kat. ","Nazwa katalogowa","Poj. op.","Ilość op.","Cena jedn. netto","VAT          [%]","Wartość netto (poz. 7 x poz. 8)","Wartość VAT","Wartość brutto (poz. 10 + poz. 11)"]
[1,"Testy typu WB do potwierdzania obecności przeciwciał anty - HCV ","4 500 testów"]
[]
[]
["Zadanie 1 - PARAMETRY GRANICZNE / ODCINAJĄCE"]
["Lp.","Parametr / warunek",{"$nulls":6},"Spełnienie parametru/warunku              TAK / NIE*"]
[1,"Badanie bez wcześniejszego rozcieńczenia próbki"]
[2,"Trzy kategorie wyników: dodatni, wątpliwy, ujemny"]
[3,"Możliwość trzykrotnego rozmrażania próbki"]
["*odpowiednie wpisać"]
[]
[]
[]
[]
[]
[{"$nulls":9},"………...……………….....……………………………"]
[{"$nulls":9},"   podpis i pieczątka imienna osoby upoważnionej"]
[{"$nulls":9},"                  do reprezentowania firmy"]