{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Arkusz1","Arkusz2","Arkusz3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Arkusz1","index":0,"n_rows":22,"n_cols":12,"rows_kept":22,"cut":false,"hidden":false,"merged":[[14,1,14,7],[14,8,14,10],[15,1,15,7],[15,8,15,10],[12,1,12,7],[12,8,12,10],[13,1,13,7],[13,8,13,10]],"flags":["formulas_cached_only"]}
[{"$nulls":11},"Załącznik nr 1"]
[null,"…………………………………………………….."]
[null,"pieczęć firmowa"]
[]
["Zadanie  1"]
[]
[1,2,3,4,5,6,7,8,9]
["L.p.","Opis","Wymagana ilość","Ilość op.","Cena jedn. netto","% VAT","Wartość netto (poz. 7 x poz. 8)","Wartość VAT","Wartość brutto (poz.10 + poz.11)"]
[1,"Pakiety kontrolne","1600 pakietów"]
["  PARAMETRY GRANICZNE / ODCINAJĄCE"]
[]
[]
["L.p.","Parametr / warunek",{"$nulls":6},"Spełnienie parametru/ warunku                              TAK / NIE"]
[1,"Sześć próbek różnych rodzajów krwinek czerwonych zawieszonych w roztworze konserwującym zapewniającym stabilność próbki w temp 4- 8oC",{"$nulls":6},"TAK"]
[2," W zawiesinie powinno się znajdować, co najmniej 1 – 1.2 ml gęstych krwinek",{"$nulls":6},"TAK"]
[3," Trzech próbek osocza lub surowicy o objętości, co najmniej  2 - 3 ml",{"$nulls":6},"TAK"]
[]
[]
[]
[{"$nulls":8},"………………………………………….."]
[{"$nulls":9},"podpis i imienna pieczątka "]
[{"$nulls":9},"osoby uprawnionej do reprezentowania firmy"]

{"sheet":"Arkusz2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Arkusz3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}