{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Arkusz3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Arkusz3","index":0,"n_rows":32,"n_cols":9,"rows_kept":32,"cut":false,"hidden":false,"merged":[[2,1,2,7],[29,6,29,9],[30,6,30,9],[31,6,31,9],[24,0,24,5],[5,0,5,8]],"flags":["formulas_cached_only"]}
["Przetarg nieograniczony znak IHiT/P/ 51 /10"]
[]
[null,"                               Specyfikacja asortymentowo - cenowa"]
[]
["             Zadanie nr 1"]
["Załacznik nr 1"]
["L.p.","Przedmiot zamówienia","jednostka  miary","ilość ","cena jedn. netto","VAT %","Wartość netto","Wartość VAT","Wartośc brutto"]
["1.",2,3,4,5,6,7,8,9]
[1,"Tlen medyczny"," 1butla 40l (~6,4m³/~8,6 kg)",180]
["1.1","Dzierżawa butli "," butla/dzień   48/730",35040]
["2.","Tlen medyczny"," 1 butla 2l(~ 0,43m³/~0,6 kg)",290]
["2.1","Dzierżawa butli ","butla/dzień   28/730",20440]
[3,"Tlen medyczny ciekły","kg",100000]
[4,"Azot czysty sprężony"," 1 butla 50l (~10m³/~11,9 kg)",5]
["4.1","Dzierżawa butli ","butla/dzień  3/730",2190]
["5.","Dwutlenek węgla spożywczy /butle z syfonem/"," 1butla 40l(~26 kg)",50]
["5.1.","Dzierżawa butli ","butla/dzień  13/730",9490]
[6,"Azot ciekły","kg",160000]
["7.","Podtlenek azotu medyczny","1 butla 40l (~28 kg)",50]
["7.1.","Dzierżawa  butli","butla/dzień    13/730",9490]
["8.","Tlen medyczny","1 butla 5l",12]
["8.1.","Dzierżawa butli ","butla/dzień        3/730",2190]
["9.","Tlen medyczny","1 butla 10l",5]
["9.1.","Dzierżawa butli ","butla/dzień     2/730",1460]
[]
[]
[]
[]
[]
[{"$nulls":6},"      ………...……………….....……………………………"]
[{"$nulls":6},"        podpis i pieczątka imienna osoby upoważnionej"]
[{"$nulls":6},"do reprezentowania firmy"]