{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Arkusz1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Arkusz1","index":0,"n_rows":21,"n_cols":12,"rows_kept":21,"cut":false,"hidden":false,"merged":[[0,0,0,2],[12,1,12,7],[12,8,12,10],[13,1,13,7],[13,8,13,10],[5,3,5,8],[16,0,16,1],[14,1,14,7],[14,8,14,10],[15,1,15,7],[15,8,15,10]],"flags":["formulas_cached_only"]}
["Przetarg nieograniczony znak: IHiT/P/15/2011"]
[{"$nulls":10},"Załącznik nr 1"]
[null,"…………………………………………………….."]
[null,"pieczęć firmowa"]
[]
[null,null,null,"SPECYFIKACJA ASORTYMENTOWO-CENOWA"]
[]
[1,2,3,4,5,6,7,8,9,10,11,12]
["L.p.","Opis","Wymagana ilość","Nr kat.","Nazwa katalogowa","Poj. op.","Ilość op.","Cena jedn. netto","% VAT","Wartość netto (poz. 7 x poz. 8)","Wartość VAT","Wartość brutto (poz.10 + poz.11)"]
[1,"Testy typu WB do potwierdzenia obecności przeciwciał anty-HCV 20testów/op.","4890 testów"]
[]
["  PARAMETRY GRANICZNE / ODCINAJĄCE"]
["Lp.","Parametr / warunek",{"$nulls":6},"Spełnienie parametru/warunku              TAK / NIE*                                 [wypełnia Wykonawca]"]
[1,"badanie bez wcześniejszego rozcieńczenia próbki"]
[2,"trzy kategorie wyników: dodatni, wątpliwy, ujemny"]
[3,"możliwość pięciokrotnego rozmrażania próbki bez wpływu na wynik"]
["*odpowiednie wpisać"]
[]
[{"$nulls":7},"…………………………………………………….."]
[{"$nulls":9},"podpis i imienna pieczątka "]
[{"$nulls":9},"osoby uprawnionej do reprezentowania firmy"]