{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Załącznik nr 1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Załącznik nr 1","index":0,"n_rows":62,"n_cols":10,"rows_kept":62,"cut":false,"hidden":false,"merged":[[9,5,10,5],[11,0,11,9],[9,4,10,4],[9,0,10,0],[9,1,10,1],[9,2,10,2],[9,3,10,3],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,6,10,6],[60,7,60,9],[61,7,61,9],[59,7,59,9]],"flags":["formulas_cached_only"]}
["..............................."]
["  [pieczęć firmy]     "]
[]
[{"$nulls":6},"Specyfikacja Asortymentowo - Cenowa"]
[]
[]
["WYKAZ FILTRÓW DO INSTALACJI WENTYLACYJNO – MECHANICZNEJ I KLIMATYZACYJNEJ"]
["Zadanie nr 1",{"$nulls":5},"Załącznik nr 1 do umowy ……………....…..…...…………z dnia………...…...…...………."]
[1,2,3,4,5,6,7,8,9,10]
["L.p.","Klasa","                                             Wymiary\n","Ilość","J.m.","Cena jednostkowa [netto]                            ","VAT             [%]","Wartość netto                      (poz. 4 x poz. 6)","Wartość VAT","Wartość brutto                                     (poz. 8 + poz. 9)"]
[]
["FILTRY KIESZENIOWE EU 4, EU 8 i ABSOLUTNE H 13"]
[1,"EU 4","490x650x200x20",24,"szt."]
[2,"EU 4","605x515x300x20",2,"szt."]
[3,"EU 4","340x710x300x20",2,"szt."]
[4,"EU 4","565x480x300x20",10,"szt."]
[5,"EU 4","960x340x300x20",2,"szt."]
[6,"EU 4","365x520x200x20",8,"szt."]
[7,"EU 4","605x520x300x20",12,"szt."]
[8,"EU 4","687x320x200x20",2,"szt."]
[9,"EU 4","365x650x200x20",20,"szt."]
[10,"EU 4","710x340x200x20",30,"szt."]
[11,"EU 4","500x605x300x20",8,"szt."]
[12,"EU 4","490x650x300x20",20,"szt."]
[13,"EU 4","465x880x300x20",16,"szt."]
[14,"EU 4","500x560x300x20",4,"szt."]
[15,"EU 4","520x605x300x20",6,"szt."]
[16,"EU 4","710x340x300x20",8,"szt."]
[17,"EU 4","605x520x200x20",4,"szt."]
[18,"EU 4","690x640x250x20",6,"szt."]
[19,"EU 4","592x287x48 kaseta",4,"szt."]
[20,"EU 4","700x400x250 kaseta",2,"szt."]
[21,"EU 4","287x592x195x20",2,"szt."]
[22,"EU 8","470x600x600x20",12,"szt."]
[23,"EU 8","470x615x600x20",4,"szt."]
[24,"EU 8","565x480x600x20",6,"szt."]
[25,"EU 8","340x710x600x20",2,"szt."]
[26,"EU 8","345x475x600x20",4,"szt."]
[27,"EU 8","687x320x600x20",2,"szt."]
[28,"EU 8","345x600x600x20",8,"szt."]
[29,"EU 8","500x600x600x20",14,"szt."]
[30,"EU 8","465x615x600x20",4,"szt."]
[31,"EU 8","465x850x600x20",4,"szt."]
[32,"EU 8","500x560x600x20",2,"szt."]
[33,"EU 8","605x520x600x20",2,"szt."]
[34,"EU 8","690x625x600x20",2,"szt."]
[35,"H 13","457x457x80",16,"szt."]
[36,"H 13","610x610x80",72,"szt."]
[37,"H 13","457x457x150",22,"szt."]
[38,"H 13","305x610x80",38,"szt."]
[39,"H 13","405x405x150",14,"szt."]
[40,"H 13","575x575x78",6,"szt."]
[41,"H 13","305x610x150",64,"szt."]
[42,"H 13","1220x610x80",16,"szt."]
[43,"H 13","305x610x292",8,"szt."]
[{"$nulls":7},0,0,0]
[]
[]
[]
[{"$nulls":7},"      ………...……………….....……………………………"]
[{"$nulls":7},"   podpis i pieczątka imienna osoby upoważnionej"]
[{"$nulls":7},"                                         do reprezentowania firmy"]